## Slide 1
Design of Reflection Microscopy with different lenses as objective lens

## Slide 2
Smartphone camera as detector
Plano-convex lens as Tube lens
Beam splitter 70:30 (R:T) BST10
Microscope objective
Collimating lens
LED as light source
Smartphone camera
Plano-convex lens
Beamsplitter 70:30 (R:T) BST10
Achromatic doublet or Ball lens
LED as light source
Layout 1
Layout 2

## Slide 3
 | First Layout |  | Second Layout
1 | Smart Phone Camera as detector | 1 | Smart Phone Camera as detector
2 | Plano-convex lens as tube lens (D= 6 mm, f= 11 mm) (#37-775) | 2 | Plano-convex lens as tube lens (D= 6 mm, f= 11 mm) (#37-775)
3 | Beamsplitter 70:30 (R:T) (BST10, Thorlabs) or (#45-314, Edmund Optics) | 3 | Beamsplitter 70:30 (R:T) (BST10, Thorlabs) or (#45-314, Edmund Optics)
4 | Microscope Objective RMS10X, Thorlabs | 4 | Ball lens (d= 3mm) (#43711, EO) or Achromatic doublet lens (d= 4 mm, f= 6 mm) (#63–714, EO)
5 | Collimating lens (PCX #45-083 EO) or (LA1576 Thorlabs) | 5 | 1W LED as light source
6 | 1W LED as light source |  | 

## Slide 4
 | Mount | Source
Beamsplitter | KCB1C for BST10, Thorlabs | https://www.thorlabs.com/right-angle-kinematic-mirror-mounts-for-30-mm-cage-systems
Microscope objective (RMS10X, Thorlabs) | KM100R | https://www.thorlabs.com/kinematic-microscope-objective-mount
Plano-convex lens | (a) 64-555 for (45-083 ,f=12 mm, d= 12mm) (b) 64-552 for (37-775 , f= 11mm, d= 6mm) | https://www.edmundoptics.in/p/120mm-optic-diameter-optic-mount/19267/ https://www.edmundoptics.in/p/60mm-optic-diameter-optic-mount/19264/
Achromatic doublet lens | AC050-008-A-ML 63–714 | https://www.thorlabs.com/mounted-achromatic-doublets-ar-coated-400---700-nm Not found
Ball lens | Not found | 
Power supply | USB-OTG cable or 9V battery with battery snapper and resistor | 

## Slide 5
Design with Ball Lens as objective
Fig: Spot diagram of wavelength (c) 400 nm (d) 587 nm (e) 700 nm
Fig (a) 2D Layout
Fig (b) Lens Data Editor
Fig (f) Footprint diagram

## Slide 6
Design with Achromatic Lens
Fig (a) 2D Layout
Fig (b) Lens Data Editor
Fig: Spot diagram of wavelength (c) 400 nm (d) 587 nm (e) 700 nm
Fig (f) Footprint diagram

## Slide 7
Design with Microscopic objective
Fig: Spot diagram of wavelength (c) 400 nm (d) 587 nm (e) 700 nm
Fig (a) 2D Layout
Fig (b) Lens Data Editor
Fig (f) Footprint diagram

## Slide 8
Comment
Magnification of system using ball lens as objective lens
M(total) = M1 × M2
M1 = 1000 (n −1) n/D is the magnification obtained from the ball lens where n is the refractive
index and D is the diameter of the ball lens and M2 = 1 + d /f is the magnification due to the PCX lens used.
M(total) = 171x
where is the focal length of tube lens and is the focal length of objective lens
2. Magnification of system using achromatic lens as objective lens

## Slide 9
 | MO/Achromatic doublet | Tube Lens (Plano convex lens) Magnification of PCX lens = 1+ | Total Magnification M = M(1) x M(2)
1 | RMS20X MO (EFL= , WD= , NA= ) , M(1) = 20X | LA1951 (f= 25 mm, d= 25.4 mm), M(2) = 2.016x or LA1470 (f=12 mm, d= 6mm, ) M(2) = 1.5x | M = 40.32x M = 30x
2 | RMS10X MO ( EFL= 18 mm, WD = 10.6 mm, NA= 0.25) , M(1) = 10x | LA1951 ( f= 100 mm, d= 12.7 mm), M(2) = 2.016x or LA1470 (f=12 mm, d= 6mm, ) M(2) = 1.5x | M = 20.16x M = 15x
3 | AC050-008-A ( Achromatic Lens, f=7.5 mm, d = 5mm) | LA1951 ( f= 25 mm, d= 25.4 mm), LA1470 (f=12 mm, d= 6mm) | M = = 3.33x M= = 2.4x
4 |  |  | 
 | MO/Achromatic doublet |  | Total Magnification M = M(1) x M(2)
1 | RMS20X MO (EFL= , WD= , NA= ) , M(1) = 20X | LA1951 (f= 25 mm, d= 25.4 mm), M(2) = 2.016x or LA1470 (f=12 mm, d= 6mm, ) M(2) = 1.5x | M = 40.32x M = 30x
2 | RMS10X MO ( EFL= 18 mm, WD = 10.6 mm, NA= 0.25) , M(1) = 10x | LA1951 ( f= 100 mm, d= 12.7 mm), M(2) = 2.016x or LA1470 (f=12 mm, d= 6mm, ) M(2) = 1.5x | M = 20.16x M = 15x
3 | AC050-008-A ( Achromatic Lens, f=7.5 mm, d = 5mm) | LA1951 ( f= 25 mm, d= 25.4 mm), LA1470 (f=12 mm, d= 6mm) | 
4 |  |  | 

## Slide 10
(1) AC050-008-A Holder: A lens adapter S1TM09 need to be used to fit inside the LMR1/M
S1TM09
LMR1/M
Physical dimension of Mounted AC05-008-A lens
https://www.thorlabs.com/item/AC050-008-A-ML
https://www.thorlabs.com/item/LMR1_M
https://www.thorlabs.com/item/S1TM09

## Slide 11
(2) LA1951 holder : The compatible lens mount for LA1951 is LMR1/M with SM1RRC retaining ring
https://www.thorlabs.com/item/LA1951
https://www.thorlabs.com/item/LMR1_M

## Slide 12
(3) RMS10X or RMS20X holder: To hold a microscope objective with a beamsplitter at 45 deg a microscope adapter M1RMSS
need to be screw with KCB1/M
Dimension of M1RMSS
https://www.thorlabs.com/item/M1RMSS
Dimension of KCB1/M
https://www.thorlabs.com/item/KCB1_M
Dimension of RMS10X
https://www.thorlabs.com/item/RMS10X

## Slide 13
LA1134 Plano convex lens of diameter 25.4 mm and focal length 59.8 mm can be used as collimater to collimate the light beam from light source (https://www.thorlabs.com/item/LA1134 ), any other small focal length produce large beam and some light beam gets clipped from AC050-008-A and for higher focal length , the f number will be large so numerical aperture small and small cone of light beam will collect the collimating lens.

## Slide 14
Smartphone based Microscopic system equivalent optical elements
LA1540 as collecting lens d=12.7mm, f= 14.9 mm
Mount: LMR05/M https://www.thorlabs.com/item/LMR05_M
LA1470 as tube lens d= 6mm, f= 12mm
Mount: LMRA6 (https://www.thorlabs.com/item/LMRA6 ) and LMR05/M
3. AC050-008-A as objective lens d=5mm, f= 7.5 (refer page number 10)

## Slide 15
1
2
3
4
5
Sample